# Alternate Feed Available SOP

# Purpose

This SOP provides step-by-step valve operation instructions for ground officers when an alternate feed has been confirmed available at the tail-end valve. It covers the sequential opening of reverse isolation pipes, working backwards from the tail-end valve, followed by shutting the valve immediately downstream of the originally isolated pipe.

# Procedure

## Step 1 — Identify the first reverse isolation pipe from the tail-end valve

Starting from the tail-end valve, work backwards to identify the first reverse isolation pipe ID. These are the reverse-direction pipes that were verified as closed during the isolation check.

## Step 2 — Verify the pipe status is closed

Check that the identified pipe status is "closed" before proceeding. Do not operate the valve if the pipe is already open.

## Step 3 — Operate the downstream valve

Operate the downstream valve of the identified pipe. Confirm the valve has been fully operated.

## Step 4 — Move to the next reverse isolation pipe and repeat

Identify the next reverse isolation pipe working backwards. Repeat Steps 2 and 3 for each pipe until all reverse isolation pipes have been operated.

## Step 5 — Operate the valve immediately after the originally isolated pipe

Once all reverse isolation pipes have been addressed, operate the valve that sits immediately downstream of the originally isolated pipe.

## Step 6 — Record the number of valves operated

Record the total number of valves operated during this procedure.